# Text boxes

# NM4250

##### Body TEX Thermal Exchanger

##### Roto-molded Plastic w/ bracket

# NM4251

##### Roto-molded Plastic no bracket

# NM4240

##### Screw 10-32 x 7/8” BH SS

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger 			Page 1

Discontinued

# NS168

##### Washer 1/8” Flat

# NM4255

##### Washer #10 Flat SS

# NM4238

##### Gasket Black Silicone - TEX

# NM4251

##### Washer 5/16” Flat SS

# NM4241

##### Retainer TEX Gasket

# NM4290

##### Nut 5/16-18 Hex SS

# NM4412

Front Switch Panel w/ decal

E-TES 240

# NM4245

##### Clamp Toggle - TEX

# NM4413

Front Switch Panel w/ decal				E-TES 120

# NM5714

##### Rocker Switch – 120/240VAC

##### DPST

# NM4246

##### Stud 5/16-18 x 2-1/2”

##### TEX Clamp

# NM4446

##### Light Green 240 volt

NM4447: 120 VOLT

# NM4247

##### Bar 1/2” x 3”

##### TEX Clamp

# NM4372

##### Screw #8 x 1/2” SS Pan Head Phillips Self Tapping

# NM4448

##### Light Red 240 volt

NM4449: 120 VOLT

# NM4081

##### Nut 10-32 Hex Nylock SS

# NM4450

##### Relay DPST 240 volt

NM4451 – DPST 120 volt

# NM4300A

##### Hour Meter 240 volt Round

# NM4300B

##### Hour Meter 120 volt Round

# NM4300

##### Hour Meter 240 volt

Rectangular

# NM4437

##### Rivet 3/32” x 1/8” Aluminum

# NM4452

##### Terminal Block

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger 				Page 2

# NM4441

##### Ceramic Fiber Paper

##### 1/4” x 5.5” x 18”

# NM4441A

##### Ceramic Fiber Paper - TOP

##### 1/4” x 9.75” x 18”

Discontinued

Discontinued

Discontinued

Discontinued

Discontinued

Discontinued

# NM4440

##### Ceramic Fiber Board

##### 1/4” x 6” x 18”

# NM4441B

##### Ceramic Fiber Paper - BOTTOM

##### 1/4” x 9.75” x 18”

# NM4461

##### Spacer – Tall PTFE

##### E-TES Heating elements

# NM4442

##### Nylon Block

##### 1-1/2” x 4” x 1”

# NM4459

##### Spacer – Short PTFE

##### E-TES Heating elements

# NM4443

##### Nylon Block

##### 3/4” x 4” x 1”

# NM4371

##### Screw #8 x 1” SS Pan Head Phillips Self Tapping

# NM4415

##### Heater Box Aluminum- Large

##### E-TES SD

# NM4040

##### Nut 4-40 Hex

# NM4414

##### Heater Box Aluminum

##### E-TES

# NM4261

##### Nut 1/4-20 Hex Nylock SS

# NM4416

##### Side Flaps - Aluminum

##### Set of Two E-TES

# NM4258

##### Nut 5/16-18 Hex Nylock SS

# NM4273

##### Trim lock 3/8” X 1/16”

Sold per inch

##### Side Flaps Edge Protection

# NM4041

##### Screw 4-40 x 3/4” Pan Head

Phillips

# NM4410

##### Bracket Air Flow Switch

##### Aluminum E-TES

# NM4256

##### Screw 5/16-18 x 3-1/2” Flat Head

Phillips SS

# NM5034

##### Screw 1/4-20 x 1”Hex Head

# NM4406

##### Microswitch w/ Lever No Paddle

##### Air Flow Switch E-TES

# NM4435

##### Air Flow Switch w/ Paddle

##### E-TES

# NM5430

##### Rivet 3/16” x 1/2” SS

Discontinued

Discontinued

Discontinued

# NM5025

##### Rivet 1/8” x3/4” Aluminum

Closed End

# NS116

##### Rivet 1/8” x 1/8” Aluminum

# NM4445

##### Heating Element E-TES

120V – 1000W

# NM4453

##### Heating Element E-TES

120V – 750W

# NM4418

##### Bracket Temp Switch Mount Aluminum - E-TES

# NM4444

##### Heating Element E-TES

240V – 1550W

# NM4404

##### Thermostat 200˚F Auto Reset

E-TES

# NM4408

##### Thermostat 250˚F Auto Reset

##### E-TES

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger 			Page 3

# NM5440

##### Nut M6-.5 Probe Jack

# NM5442

##### Battery E-TES SD Circuit Board

##### 3 volt lithium 1200mAH

# NM5393

##### Decal E-TES SD 240V Panel

# NM5391

##### E-TES SD 240V Panel

# NM5392

##### Decal E-TES SD 120V Panel

# NM5390

##### E-TES SD 120V Panel

# NM4437

##### TES Decal Kit

# NM5572

##### Plate Serial Number E-TES SD

# NM5394

##### Circuit Board E-TES SD

##### 120V & 240V

# PHY094-034

##### Nut 10-24 Nylock SS

# NM4240

##### Screw 10-24 x 3/4” PHPH SS

# LBMB2404

##### Mold-On TES Label 4” x 5”

# LMAN240SD

##### Operator’s Manual

##### E-TESSD 240Volt

# LMAN120SD

##### Operator’s Manual

##### E-TESSD 120Volt

# NM5446

##### Bushing Snap-in Wire Guard

##### For NM4415 box- E-TES SD

# NM5410

##### Airflow Switch- Flexible

##### E-TES SD

# NM4411

##### Bracket Airflow Switch

##### E-TES SD

# NM5400

##### Connector MTA 3-PIN

# NM5402

##### Connector MTA 2-PIN

# NM5061

##### Terminal Ring #10

12-10 AWG

# NM4037

##### Terminal Ring .312” Dia

12-10 AWG

# 100004

##### Connector FM .25” Insulated

16-14 AWG

# PA079A

##### Connector Butt Splice

16-14 AWG

# NM5418

Wire Tie 4 Inch- Nylon

# NM5416

##### Heat Shrink Tubing 3/8” ID

Sold per Inch

# NM5420

##### Sleeve Fiberglass Wire Guard

##### 5/8” Dia – Sold per Inch

# NM5421

##### Sleeve Fiberglass Wire Guard

##### 7/16” Dia – Sold per Inch

# NM4317

##### Connector FM .25” Insulated

12-10 AWG

# NM4031

##### Nut 6-32 Nylock SS

# NM4036

##### Connector FM .18” Insulated

16-14 AWG

# NM5428

##### Airflow Switch Assembly

##### E-TES SD

# NM5436

##### Screw 6-32 x .375” SS PPH

# NM5385

##### Dust Cover – Serial Port

E-TES SD

# NM5434

##### Washer #6Lock - Internal Star

# NM5395

##### Cover Circuit Board – Rear

##### E-TES SD

# NM5384

##### Dust Cover – USB Port

##### E-TES SD

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger 			Page 4

# AT204

##### Sensor Extension Cord - 10’

3.5mm plug & jack

# AT206

##### Remote Exhaust Fan Control

# NM4033R

##### Wire 10GA Hi-Temp

##### Red Stripe

Sold per Inch

# NM4033G

##### Wire 10GA Hi-Temp

##### Green Stripe

Sold per Inch

# NM4033B

##### Wire 10GA Hi-Temp

##### Black Stripe

Sold per Inch

# NM5021HT

##### Wire 16GA Hi-Temp White

Sold per Inch

# NM4033

##### Wire 10GA Hi-Temp White

Sold per Inch

# NM5406

##### Wire 22GA Black

Sold per Inch

# NM5404

##### Wire 22GA Red

Sold per Inch

# NM5040

##### Wire 12GA Stranded – Black

Sold per Inch

# NM5040A

##### Wire 12GA Stranded – Red

Sold per Inch

# NM5040B

##### Wire 12GA Stranded – Green

Sold per Inch

# NM4432

##### Inside Grille - E-TES

# NM4430

##### Front Grille - E-TES

# NM5412

##### Gasket Airflow Switch

##### E-TES SD

# PGE5060

##### Moisture Probe

3.5mm plug & 4’ Cord

# NM5432

##### Washer 1/4” Split Lock SS

# NM5066

##### Washer 1/4” Flat SS

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger 			Page 5

# AT202

##### Air Temperature Sensor

3.5mm plug & 10’ cord

# AT200

##### Surface Temperature Sensor

3.5mm plug & 10’ cord

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger 			Page 6

# NM4407

##### Power Cord w/ GFCI 120V

##### 12/3 x 50’ – Manual Reset

E-TES 120

# AX33

##### Extension Cord 120V

##### 12/3 x 50’

# NM4407A

##### Power Cord w/ GFCI 120V

##### 12/3 x 50’ – Auto Reset

Source End Male 5-15P

Load End Female 5-15R

Source End Male 5-15P

Load End Female 5-15R

# NM4403

##### Extension Power Cord

##### 10/3 x 50’

##### E-TES

# NM4402

##### Power Cord w/ GFCI240

##### 10/3 x 50’

##### E-TES240

MALE

L6-30P

FEMALE

L6-30R

# AC8389

##### Power Cord 25’ x 6/3, 8/1

50amp California Standard Ends

MALE

10-30P

FEMALE

L6-30R

Source End Male 10-30P

Load End Female 6-30R

# AC8393

##### Temporary Power Box

6 – 20amp 120volt 5-20R outlets

1 – 30amp 240volt L6-30R outlet

1 – 50amp Pass Thru (Cal Std FM)

1 – 240volt input connection

(Cal Std Male)

CORDS NOT INCLUDED

FEMALE

MALE

# AC8390

##### Power Cord 50’ x 6/3, 8/1

50amp California Standard Ends

# AC8392

##### Power Cord 100’ x 6/3, 8/1

50amp California Standard Ends

MALE

FEMALE

FEMALE

MALE

# NM4426

##### Adapter Cord E-TES

3-Prong Twist Lock Plug

# NM4420

##### Adapter Cord E-TES

3-Prong Range Plug

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger 				Page 7

FEMALE

10-30R

MALE

L6-30P

MALE

10-50P

FEMALE

10-30R

# NM5929

##### Power Cord w/ GFCI 240

##### 10/3 x 50’

##### E-TES240 CSA Version

# NM4422

##### Adapter Cord E-TES

4-Prong Dryer Plug

MALE

14-30P

FEMALE

10-30R

MALE

14-30P

FEMALE

L14-30R

# NM4401

##### Connector 30amp L6-30R

##### For E-TES Power Cord

# NM4424

##### Adapter Cord E-TES

4-Prong Range Plug

FEMALE

L6-30R

# NM4398

##### Connector 30amp L6-30P

##### For E-TES Extension Cord

MALE

14-50P

FEMALE

10-30R

# NM4399

##### Plug 15amp120V Flanged Inlet

##### NEMA 5-15P

MALE

L6-30P

# NM4405

##### Connector 30amp 10-30R

##### For E-TES Adapter Cords

# NM4400

##### Plug 30amp 240V Flanged Inlet

##### NEMA L6-30P

FEMALE

10-30R

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger 				Page 8

# AT220

##### Remote Power Controller

# AT222

##### Remote Sensor

w/ Batteries

# AT228

##### Modem Kit E-TES RFC

Modem, SIM Card, Cable Connector, External Antenna

# AT224

##### Screw Kit for Multi-Sensor

Moisture Probe

8 – Screw #12 x 3/4” NM5970C

8 – Screw #12 x 1” NM5970D

16 – 1/4” Lock Washer SS NM5014

# NM5944

##### Modem E-TES RFC

# NM5966B

##### AAA Battery

(Brand name may vary)

# NM5900

##### Body Roto-molded Box

##### E-TES SD LP & E-TES RFC

# AT226

##### USB Cord 6’ E-TES RFC

# NM5944A

##### External Antenna E-TES RFC

# NM5910

##### Circuit Board E-TES RFC

# NM5909

##### Control Panel E-TES RFC

Overlay: NM5909A

# NM5933

##### Washer 3/16” Paint Piercing

##### E-TES SD LP & E-TES RFC

# NM5906

##### Switch Panel 120V

##### E-TES SD LP & E-TES RFC

Overlay:

# NM5936

##### Gasket

##### E-TES SD LP & E-TES RFC

# NM5937

##### Retainer – Air Mover Gasket

##### E-TES SD LP & E-TES RFC

# NM5907

##### Switch Panel – 240V

##### E-TES SD LP & E-TES RFC

Overlay SD LP: NM5907A

# NM5932

##### Front Grill E-TES RFC

##### E-TES SD LP & E-TES RFC

# NM4244

##### Screw 10-24 x 3/4” PHP SS

# NM5930

##### Thermostat 210˚F Auto Reset

##### E-TES SD LP & E-TES RFC

# PHY094-034

##### Nut 10-24 Nylock SS

# NM5414

##### Bracket Airflow Switch

##### E-TES SD LP

# NM5436

##### Screw 6-32 x 3/8”PPH SS

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger   	  			Page 9

# NM5428LP

##### Airflow Switch Assembly

##### E-TES SD LP

# NM5445

##### Bushing Snap-in Wire Guard

# NM5723

##### Screw 8-32 x 5/8” PPH SS

# NM5916B

##### Heater Box – Top Plate

##### E-TES SD LP & E-TES RFC

# NM4042

##### Connector Butt Splice

18-22 AWG

# NM5916

##### Heater Box - Bottom Plate

##### E-TES SD LP & E-TES RFC

# NM5944B

##### Stand-Off Modem Mount

# NM4314

##### Adapter Electrical Connector

##### F-M-M 1/4” Spade

##### E-TES SD 240V

# NM5908

##### Control Panel E-TES SD LP

Overlay: NM5392B

# NM5025

##### Rivet 1/8” x 3/4” aluminum

# NM5934

##### Wiring Partition

##### E-TES SD LP & E-TES RFC

# NM5032

##### Washer #8 Flat SS

# NM5965

##### Battery 3V Coin

##### RFC Circuit Board

# NM5944C

##### Internal Antenna RFC

# NM5917

##### Bracket Air Flow Guide

##### E-TES SD LP & E-TES RFC

# NM5944D

##### Connector Cable Assy

##### Modem to External Antenna RFC

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger   	  			Page 10

# NM5920

##### Heater Coil Assy

##### E-TES SD LP & E-TES RFC

120V - 3000W

# NM5924

##### Screw 8-32 x 5/8”PPH SS

# NM5936

##### Screw 6-32 x .375” PFLH SS

# NM5970C

##### Screw #12 X 3/4” Wood PPH SS

# NM5970D

##### Screw #12 X 1” Wood PPH SS

# NM5755

##### Screw 8-32 x 1/2” PPH SS

# NM5922

##### Heater Coil Assy

##### E-TES SD LP & E-TES RFC

240V - 5760W

# NM5793

##### Nut 8-32 Nylock SS

# NM5923

##### Cap Red Vinyl #8

##### Thread Protector

# NM4244

##### Screw 10-24 x 3/4” PPH SS

# NM4116

##### Grommet 3/8” ID

# NM5947

##### Screw 10-24 x 1/2” PPH SS

# NM5099

##### Rivet 3/16” Split Type

# NM4255

##### Washer #10 Flat SS

# NM4400C

##### Plug 30amp 240V Flanged Inlet

##### 4-PRONG NEMA L14-30P		E-TES 240 CSA Version

MALE

L14-30P

# NM5907C

##### Switch Panel – 240V

##### E-TES CSA Version

Bridgepoint Parts Catalog

# Section XL: E-TES Thermal Exchanger   	  			Page 11

# NM5913

##### Bracket Airflow Pressure Hose

##### E-TES SD LP

# NM5967

##### Battery 9V						RFC Circuit Board

Brand may vary

# NM5968

##### Holder Battery 9V					E-TES RFC

# NM5914

##### Barb 3/32” x 6-32 Nylon

##### Airflow Pressure E-TES SD LP

# NM5914A

##### Tubing 3/32”

##### Airflow Pressure E-TES SD LP