# Text boxes

# NM4202

##### Quick Connect 3/4” Female

##### Brass		O-RING: NM4199

# NM4200

##### Quick Connect 1/2” Female

##### Brass		O-RING: NM4198

# Bridgepoint Parts Catalog

# Section XXXVII: TES Thermal Energy System 			Page 1

# Page 1

# NM4203

##### Quick Connect 3/4” Male

##### Brass

# NM4201

##### Quick Connect 1/2” Male

##### Brass

1 – 36”

1 – 12”

1 – 26”

# NM4209

##### Barb 1” x 1” MPT Brass

# NM4210

##### Hose 1-1/4” ID

##### Sold per inch

# NM4211

##### Hose 1” ID

Sold per inch

# NM4234

##### Pressure Reducing Valve

# NM4237

##### Hose 5/8” ID

Sold per foot

# NM4205

##### Spiro-vent

Replacement SS Screen: NM4205A

1 – 38”

1 – 36”

1 - 5”

1 – 15”

1 – 24”

1 - 29”

1 – 27”

# NM4274

##### Hose 1/2” ID

Sold per foot

# NM4206

##### Spiro-Trap Solution Filter

Old Style Filter

Replacement SS Screen: NM4205A

# NM4340

##### Hose 3/8” ID

Sold per foot

# NM4303

##### Hose 1” ID Hi-Temp Hi-Pressure

Sold per Foot

Heavy Duty Hose Clamp: PH040

# NM4207

##### Expansion Tank - TES

# NM4269

##### Clamp Expansion Tank Support

# NM4219

##### Bushing 1-1/2” MPT x 1-1/4” FPT

##### Brass

# NM4212

##### Valve 3/4” Gate – Brass

##### TES by-pass valve

# NM4220

##### Nipple 1-1/4” Close - SS

# NM4221

##### Elbow 90˚ - 1-1/4” MPT x

##### 1-1/4” Barb - Brass

# NM4222

##### Bushing 1-1/4”MPT x 3/4” FPT

##### Brass

# BR010

##### Barb 1/4” x 1/8” MPT Brass

# BR288

##### Elbow 90˚ 3/4” Street M-F Brass

# Bridgepoint Parts Catalog

# Section XXXVII: TES Thermal Energy System 			Page 2

# BR018

##### Barb 3/8” x 1/8” MPT Brass

# BR290

##### Elbow 90˚ 1/8” F-F Brass

# BR026

##### Barb 1/2” x 1/2” FPT Brass

# BR292

##### Elbow 90˚ 1/4” F-F Brass

# BR032

##### Barb 1/2” x 1/2” MPT Brass

# BR020

##### Barb 3/8” x 1/4” MPT Brass

# NM4223

##### Barb 1” x 3/4” MPT Brass

# BR072

##### Nipple 1/4” Hex Brass

# BR036

##### Barb 5/8” x 1/2” MPT Brass

# BR203

##### Bushing 3/4”MPT x 1/4” FPT Brass

# BR078

##### Nipple 3/4” Hex Brass

# PP12-800261

##### Elbow 45º 1/4”Flare x 1/8” MPT

##### Brass

# BR086

##### Nipple 1/2” Close Brass

1 – 16”

# NA40A

##### Solution Hose HP 3/16” ID

##### Sold per inch

# BR248

##### Tee 3/4” FPT Brass

# AH02

##### Hose End 1/4” MPT

##### For 3/16” Hose

# BR278

##### Elbow 45˚ 3/4” Street M-F Brass

# PAF06

##### Hose End 1/4FT Female Swivel

##### For 3/16” Hose

# BR286

##### Elbow 90˚ 1/2” Street M-F Brass

# PP14-806540

##### Acorn Strainer 1/2” FPT

# BR250

##### Tee 1/8” Street M-F-F Brass

# NM5004

##### Lid Assembly – Plastic

##### 6-1/2” Diameter w/ deck plate

O-ring Lid Seal: NM5004A

# NM5059

##### Gasket – Lid Assembly

# NM4204

##### Pump TES Solution

##### SS w/ High Temp Seals

Repair Parts:

Seal Guidevane Ring:	PG349

Mechanical Seal:		PG383

Casing O-ring:		PG513

# NM4227

##### 200,000 Btu Propane Boiler

Assembly – Outdoor Unit

Specify required burner jets for altitude adjustment when ordering

# Bridgepoint Parts Catalog

# Section XXXVII: TES Thermal Energy System 			Page 3

# NM4380

##### 250,000 Btu Propane Boiler

Assembly – Outdoor Unit

Specify required burner jets for altitude adjustment when ordering

# NM4215

##### Propane Hose Assy - 10’ X 1/2”

##### With 3/8” MPT & 1/2” MPT ends

# NM4217

##### Adapter Female POL x 1/4” MPT

##### Brass

# NA2250

##### Hose Clamp #6 Mini SS

# PHO11

##### Hose Clamp #20 SS

# PMEF-181

##### Adapter Male POL X 1/4” MPT

##### Brass

# PH05

##### Hose Clamp #4 Mini SS

# NM4320

##### Propane Pressure Regulator

# PH09

##### Hose Clamp #12 SS

# PA223

##### Heyco Cable Clamp

# PA082

##### Electrical Cord 8’ - 15amp

##### With Male Plug

# PR709020

##### Pilot Light Assembly – LP Gas

TES

# AX33

##### Power Cord 50 ft

##### 12/3 W/ Male & Female Ends

# NM4117

##### Rubber Grommet 3/4”ID

# NS130

##### Power Cord 16/3 x 8 ft

# NM4376

##### Door SS TES Control Panel

##### 250,000 Btu units

# NM4218

##### Lock Assembly – TES Doors

##### Control Panel & Hose Access

# NM4374

##### Plexiglass TES Control Panel

##### 250,000 Btu units

# NM4265

##### Plexiglass TES Control Panel

##### Standard 200,000 Btu units

Shown with protective film on surface.

Shown with protective film on surface.

# NM4318

##### Filter Assembly TES

##### 1 micron

# NM4319

##### Element TES Filter 1 micron

Replacement element for NM4318

# NM4081

##### Nut 10-32 Hex Nylock SS

# Bridgepoint Parts Catalog

# Section XXXVII: TES Thermal Energy System 			Page 4

# NM4115

##### Screw 10-32 x 1-1/4” BH SS

# NM4240

##### Screw 10-32 x 7/8” BH SS

# PP27-100221

##### Trim lock 7/16” X 1/16” Hard

##### Sold per foot

# NM4226

##### Pin Snapper – TES Foot Mount

# NM4273

##### Trim lock 3/8”X 1/16” Rubber

##### Sold per inch

# NM4277

##### Plate TES Wheel Mount

# PR060001

##### O-Ring Header Seal

Inlet & Outlet 1” ID x 1-3/8” OD

# AT52

##### TES Wheel Kit

2- Rigid, 2-Swivel and Hardware

# NM4224

##### Wheel Pneumatic – Swivel

Swivel Lock: NM4224A

# NM4263

##### Screw TEK #10 x 5/8”

##### Hex Head SS

# NM4225

##### Wheel Pneumatic - Rigid

# NM4266

##### Rivet 3/16” x 1/4” long SS

# NM4275

##### Tank TES Fluid Reservoir

Aluminum

# NM4255

##### Washer #10 Flat SS

# NM4249

##### Handle TES

# NM4257

##### Washer 5/16” Flat

# PR30-0360

##### Pressure Relief Safety Valve

##### 50 PSI

# NM4258

##### Nut 5/16-18 Hex Nylock

# NM4261

##### Nut 1/4-20 Hex Nylock SS

# NM4316

##### Valve Pressure Release – TES

##### Manual Operation

# NM4259

##### Screw 5/16-18 x 3/4” HXHD SS

# NM4260

##### Screw 1/4-20 x 1” BH SS

# NM4238

##### Gasket Black Silicone - TEX

# Bridgepoint Parts Catalog

# Section XXXVII: TES Thermal Energy System 			Page 5

# MB212

##### TEX Thermal Exchanger

Complete

# NM4241

##### Retainer TEX Gasket

# NM4250

##### Body TEX Thermal Exchanger

##### Roto-molded Plastic

# NM4245

##### Clamp Toggle - TEX

# NM4252

##### Coil TEX Thermal Exchanger

# NM4246

##### Stud 5/16-18 x 2”

##### TEX Clamp

# NM4214

##### Barb 1/2” x 3/4” MPT Brass

# NM4247

##### Bar 1/2” x 3” - 	TEX Clamp

# NM4284

##### TES Label Kit

# NM4290

##### Nut 5/16-18 Hex

# BR282

##### Elbow 90˚ 3/4” Street M-F Brass

# NM4235

##### Ferrule 5/8” Hose Crimp

# NA036

##### Tubing 1.5” Heat Shrink

Sold per inch

# NM4208

##### Ferrule 3/4” Hose Crimp

# BR048

##### Barb 3/4” x 3/4” MPT Brass

# NA038

##### Tubing 2” Heat Shrink

Sold per inch

# NM4264

##### Washer 2” x 1” Flat SS

# BR242

##### Tee 1/4” FPT Brass

# AT82

##### Safety Lock-out Cap

##### Propane Tank Valve Cover

Does not include lock

# NM4378

Filter Y-Strainer – TES

Old style pressure relief system

# NM4271

##### Knob Panel Door

Washer: NM4313

# CR01GL

##### TES Thermal Fluid - Gallon

# PR71579

##### Main Gas Valve – TES

##### Propane 2-stage

# PR4810

##### Switch Toggle w/ ON / Off Plate

##### TES Control Panel

# Bridgepoint Parts Catalog

# Section XXXVII: TES Thermal Energy System 			Page 6

# NM4300

##### Hour Meter Rectangular 120VAC

##### Without bezel – Snap-in

# PR1425

##### Flow Switch - TES

# Burner Jets

(200,000 BTU units - 4 required)

(250,000 BTU units - 5 required)

##### NM4295 - Burner Orifice #47

##### For 0 – 1999 ft Elevation

##### NM4294 - Burner Orifice #49

For 2000 – 3999 ft Elevation

##### NM4296 - Burner Orifice #50

For 4000 – 5999 ft Elevation

##### NM4298 - Burner Orifice #51

For 6000 – 7999 ft Elevation

# PR0102

##### Hi-Limit Control – TES

##### Honeywell New Style

# PR1417

##### Operator Control 2-Stage

##### TES - Honeywell Old Style

# PR1417A

##### Operator Control 2-Stage

##### TES - Jumo New Style

# PR100251

##### Burner Tube SS – TES

(200,000 BTU units - 4 required)

(250,000 BTU units - 5 required)

# PR14117

##### Hi-Limit Control

##### TES – Jumo Old Style

# NM4404

200˚F Temperature Switch

Auto Reset – Flame Roll-out switch

# NM4322

##### Strap Burner Tube TES - Long

# NM4409

230˚F Temperature Switch

Auto Reset – Flame Roll-out switch

# NM4322S

##### Strap Burner Tube TES -Short

# PR16-0054

##### Burner Ignition Control – TES

(Replaces older gray control)

# AP23

# FloJet D3621E3011A

30PSI Demand flow – 1.2GPM

115VAC motor – 0.5amp

EPDM - Chemical Resistant Diaphragm

Demand Switch:				PF02090-117

Valve Chamber:				PF20914-003A

Upper Housing:				PFDH21E301

Kit Lower Housing w/ Cam & Diaphragm:	PF21022-030A

# PR15-0002

##### Transformer – TES

##### 120 VAC to 24 VAC

# PR14-0004

##### Gauge Temperature

##### TES – Inlet / Outlet

# NM4328

##### Floor Anchor D-Ring

# Bridgepoint Parts Catalog

# Section XXXVII: TES Thermal Energy System 			Page 7

# AT78

##### Support Stand – TES Mount

# NM4329

##### Back-Up Plate Floor Anchor

# AT70

##### Propane Tank Rack

Holds three 100# tanks

# NM4352

##### Bracket Propane Regulator

##### Mounting - TES

# AT72

##### Shelf 4-Air Movers

# AT74

Shelf 6-Air Movers

# NM4354

##### Plate TES Propane Bulkhead

# AT76

##### Kit Trailer Fan

# NM4334

##### Bulkhead Fitting 1/2” FPT

##### Brass

# AX119

##### Hose Hanger Strap w/ Velcro

##### 3” x 23”

# NM4336

##### Ball Valve 1/2” FPT - Brass

##### Gas Shutoff

# NM4230

##### Gauge Water Pressure 60psi

# AT68

##### Hose Assembly – Propane

##### Dual Tank Adapter

# NM4346

##### Nipple 1/2” x 1-1/2” Steel

# NM4348

##### Nipple 1/2” x 2” Steel

# AT69

##### Hose Assembly – Propane

##### Triple Tank Adapter

# NM4350

##### Nipple 1/2” x 2-1/2” Steel

# NM4332

##### Propane Hose Assy - 15’ X 1/2”

##### With 3/8” MPT & 1/2” MPT ends

# AT98

##### Ratchet Straps Red – 2 PACK

6’ - 1200LB

# AT99

##### Ratchet Strap Black

15’ - 1200LB

# AT100

##### Ratchet Strap – E-Track

# AT101

##### Tie-off Ring – E-Track

# PR09-0123

##### Outdoor Vent Cap 7”

200,000 btu Tes Outdoor Operation

# NM4344

##### Connector 1/2” Female Flare X

1/2” Female Flare Brass

# NM4394

##### S-Hook - TES Anchoring

# NM4392

##### Turnbuckle - TES Anchoring

# AX87B

Carabiner Clip - Aluminum

3” x 5/16” - 150 lb Capacity

# NM4370

##### Screw #10 x 1” SS Pan Head Phillips Self Tapping

# NM4390

##### Adapter Exhaust Pipe Galvanized

##### 7” Diameter x 8” Diameter

Standard 200,000 BTU TES units

8” X 10” Adapter – NM4391

# NM4387

##### Exhaust Pipe Galvanized

##### 7” Diameter x 36”

Standard 200,000 BTU TES units

8” Dia. x 36” Pipe – NM4388

# NM4330

##### Exhaust Cap TES Trailer Mount

##### 7” J-cap

Standard 200,000 BTU TES units

8” J-Cap – NM4331

# NM4342

##### Adapter 1/2” Male Flare X

3/8” FPT Brass

# NM4339

##### Adapter 1/2” Male Flare X

1/2” FPT Brass

# NM4337

##### Adapter 1/2” Male Flare X

1/2” MPT Brass

# Bridgepoint Parts Catalog

# Section XXXVII: TES Thermal Energy System 			Page 8

# NM4372

##### Screw #8 x 1/2” SS Pan Head Phillips Self Tapping

# NM4325A

##### Filter Cartridge – AT80 Kit				Old Style Filter Kit

# AT84

##### TES Fluid Filter Kit

Kit includes 3 Filter Cartridges

Filter Cartridges: NM4356A

# AH131

##### Hose Assembly Blue – TES

##### 3/4” x 5’ w/ 3/4” QC’s

# AH130

##### Hose Assembly Red – TES

##### 3/4” x 5’ w/3/4” QC’s

# AH105

##### TES Outlet Solution Tee – Brass

##### (1) 3/4” male QC

##### (4) 1/2” female QC

# AH103

##### TES Inlet Solution Tee – Brass

##### (1) 3/4” female QC

##### (4) 1/2” male QC

# AH119

##### TES Outlet Solution Tee – Brass

##### (1) 3/4” male QC

##### (3) 1/2” female QC

# AH106

##### TES Outlet Solution Tee – Brass

##### (1) 3/4” male QC

##### (2) 1/2” female QC

# AH116

##### Hose Assembly Red – TES

##### 5/8” x 25’ w/ 1/2” QC’s

# AH112

##### Hose Assembly Red – TES

##### 5/8” x 50’ w/ 1/2” QC’s

# AH114

##### Hose Assembly Blue – TES

##### 5/8” x 50’ w/ 1/2” QC’s

# AH110

##### Hose Assembly Blue – TES

##### 3/4” x 50’ w/ 3/4” QC’s

# AH108

##### Hose Assembly Red – TES

##### 3/4” x 50’ w/3/4” QC’s

# AH115

##### TES Inlet Solution Tee – Brass

##### 3/4” female QC

##### (3) 1/2” male QC

# AH104

##### TES Inlet Solution Tee – Brass

##### 3/4” female QC

##### 1/2” male QC

# AH118

##### Hose Assembly Blue – TES

##### 5/8” x 25’ w/ 1/2” QC’s

# Bridgepoint Parts Catalog

# Section XXXVII: TES Thermal Energy System 			Page 9